## Participant_overview
Company (Institute)
Information on UV-vis-NIR spectrophotometer
Manufacturer
Model type
Sphere Diameter (mm)
Material of sphere wall (e.g. BaSO4, Spectralon, sintered PTFE)
Port Beams and Detectors | Shape | diameter_mm | height _mm | width_mm
Transmittance sample port (mm)
Beam dimensions at 550 nm at Trans. sample port (mm)
Direct transmission trap dimensions (mm)
Beam dimensions at 550 nm at direct trans. trap (mm)
Transmittance reference port (mm)
Reflectance sample port (mm)
Beam dimensions at 550 nm at Refl. sample port (mm)
Direct reflectance trap dimensions (mm)
Beam dimensions at 550 nm at direct reflectance trap (mm)
Reflectance reference port (mm)
External dimensions of UV-vis detector (mm)
External dimensions of NIR detector (mm)
Settings for measurements
UV/vis slit mode (fix or servo)
Slit width in UV-vis (nm) or gain
Scan speed in UV-vis (nm/min)
Integration time in UV-vis (s)
NIR slit mode (fix or servo)
Slit width in NIR (nm) or gain
Scan speed in NIR (nm/min)
Integration time in NIR (s)
Data recording interval (nm)
Detector change wavelength
Grating change wavelength
Common beam mask setting
Common beam depolariser (yes or no)
Remarks
Information on IR spectrophotometer
Manufacturer and model code of the spectrophotometer
Type of spectrophotometer: single or double beam or FTIR ?
automatic or interfaced to a computer ?
purged with gas ?
Spectral range
Manufacturer and model of the reflectance accessory
Angle of incidence
Resolution (cm-1)
Number of scans
Reference mirror type
Source of calibration
Max. measured wavelength (μm)
Port Beams and Detectors | Shape | diameter_mm | height _mm | width_mm
Transmittance sample port (mm)
Beam dimensions at 550 nm at Trans. sample port (mm)
Direct transmission trap dimensions (mm)
Beam dimensions at 550 nm at direct trans. trap (mm)
Transmittance reference port (mm)
Reflectance sample port (mm)
Beam dimensions at 550 nm at Refl. sample port (mm)
Direct reflectance trap dimensions (mm)
Beam dimensions at 550 nm at direct reflectance trap (mm)
Reflectance reference port (mm)
Information on IR emissometer
Manufacturer amd model code of the emissometer
Reference materials | Material/type | Calibrated value
Reference standard, type and value
Reference standard, type and value